SPEC NOTE: This Guide Specification includes materials and methods for the application of a Henry Vegetative Roof Assembly over 790-11EV [alternatively 790-11] Hot Fluid Applied Rubberized Asphalt Waterproofing Membrane System. This specification should be adapted to suit the requirements of individual projects.  It is prepared in CSI three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

# Part 1: GENERAL

1.01	GENERAL REQUIREMENTS

A.	The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

B.	The Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.02	VEGETATIVE ROOF ASSEMBLY DESCRIPTIONS

- Vegetative Assembly Design & Performance

  - The vegetative roof assembly shall consist of [xx] inches (refer to dead load ballast requirements of thermal barrier) of growing media installed over a prefabricated water retention  & drainage composite with laminated filter fabric and root barrier.

  - The vegetative roof assembly shall be designed for the climate conditions of the project site with supplemental irrigation measure as established by the landscape professional.

  - This vegetative roof assembly shall be compatible with pedestrian access and integration with patio and walkway elements.

4.	The vegetative roof assembly shall:

a.	Support a perennial vegetative ground cover,

b.	Provide efficient drainage of moisture in excess of that required for the growth of vegetation,

c.	Protect the roof waterproofing materials from damage caused by physical abuse and temperature fluctuations.

B.		Henry Extensive Vegetative Roof Assembly: Supply labor, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

1.	Concrete deck, plywood or sheathing board mechanically fastened to metal deck,

2.	Primer & 2 ply Hot Applied Rubberized Asphalt Waterproofing Membrane and Protection Course,

3.	Flood Test or Electric Filed Vector Mapping (EFVM) Quality Assurance Program,

4.	Root Barrier, Rigid Insulation, Water Retention & Drainage Composite and Filter Fabric,

5.	Extensive Growing Media Blend (3 – 6 inches) and Plant Material.

C.	Henry Semi-Intensive Vegetative Roof Assembly: Supply labor, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

1.	Concrete deck, plywood or sheathing board mechanically fastened to metal deck,

2.	Primer & 2 ply Hot Applied Rubberized Asphalt Waterproofing Membrane and Protection Course,

3.	Flood Test or Electric Filed Vector Mapping (EFVM) Quality Assurance Program,

4.	Root Barrier, Rigid Insulation, Water Retention & Drainage Composite and Filter Fabric,

5.	Semi-Intensive Growing Media Blend (6 – 9 inches) and Plant Material.

D.	Henry Intensive Vegetative Roof Assembly: Supply labor, materials, plants, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

1.	Concrete deck, plywood or sheathing board mechanically fastened to metal deck,

2.	Primer & 2 ply Hot Applied Rubberized Asphalt Waterproofing Membrane and Protection Course,

3.	Flood Test or Electric Filed Vector Mapping (EFVM) Quality Assurance Program,

4.	Root Barrier, Rigid Insulation, Water Retention & Drainage Composite and Filter Fabric,

5.	Intensive Growing Media Blend (> 9 inches) and Plant Material.

1.03	RELATED WORK

A.		LEED Requirements:			Section [XXXXX]

B.		Concrete:						Section [XXXXX]

C.	Rough Carpentry:		Section [XXXXX]

D.	Metal Flashing and Trim:	Section [XXXXX]

E.	Sealants:			Section [XXXXX]

F. 	Masonry:			Section [XXXXX]

G.	Insulation:			Section [XXXXX]

H.	Roof Drains and Vents:		Section [XXXXX]

J.	Irrigation and Plantings		Section [XXXXX]

1.04	REFERENCES

A.	The following standards are applicable to this section:

1.	ASTM D41: Asphalt Primer used in Roofing, Dampproofing, and Waterproofing;

2.	ASTM D92: Standard Test Method for Flash and Fire Points by Cleveland Open Cup;

3.	ASTM D412: Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers—Tension;

4.	ASTM D1191: Standard Test Method for Concrete Joint Sealants;

5.	ASTM D3407: Standard Test Method for Joint Sealants, Hot Poured, for Concrete and Asphalt Pavements;

6.	ASTM E96: Water Vapor Transmission of Materials;

7.	ASTM E 2397: Standard Practice for Determination of Dead Loads and Live Loads associated with Green Roof Systems;

8.	ASTM E 2398: Standard Test Method for Water Capture and Media Retention of Geocomposite Drain Layers for Green Roof Systems;

9.	ASTM E 2399:	Standard Test Method for Maximum media Density for Dead Load Analysis of Green Roof Systems;

10.	ASTM E 2400: Standard Guide for Selection, Installation, and Maintenance of Plants for Green Roof Systems;

11.	ASTM D5147: Standard Test Methods for Sampling and Testing Modified Bituminous Sheet Material;

12.	ASTM D5385: Standard Test Method for Hydrostatic Pressure Resistance of Waterproofing Membranes;

13.	ASTM D5957: Standard Guide for Flood Testing Horizontal Waterproofing Installations;

14.	ASTM D6164: Standard Specification for Styrene Butadiene Styrene (SBS) Modified Bituminous Sheet Materials Using Polyester Reinforcements;

15.	CGSB 37-GP50M: Hot Applied, Rubberized Asphalt for Roofing and Waterproofing;

16.	UL Inc.: Class A Classification for use in Ballasted Systems.

17.	ANSI/SPRI VF- 1 External Fire Design Standard for Vegetative Roofs.

18.	ANSI/SPRI RP-14 Wind Design Standard for Vegetative Roofing Systems.

1.05	Submittals

A.	Submit a document stating that the applicator of the primary membranes specified in this Section is authorized by the waterproofing manufacturer for the execution of the Work.

B.	Submit a document stating that the vegetative roof assembly installer is authorized by the waterproofing manufacturer for the execution of the work.

C.	Submit references that the vegetative roof assembly installer has successfully completed projects on an annual basis of similar scope and nature.

D.	Submit the Waterproofing Manufacturers’ standard details for the hot fluid applied roofing membrane system and vegetative roof assembly.

F.	Samples:

1.	Provide 4” X  4” square samples for each of the following:

a.	Root Barrier

b.	Water Retention & Drainage Composite

b.	Moisture Retention Fabric (if required in design)

c.	Insulation

2.	Provide 6-ounce (min) sample of growing media blend.

3.	Provide plant schedule for plugs and/or pre-grown mats

1.06	Quality Assurance

A.	Single-Source Responsibility:

1.	Obtain waterproofing and vegetative roof assembly components and materials from a single manufacturer regularly engaged in the manufacturing and supply of the specified products.

2.	Contractor to verify product compliance with federal, state and local regulations controlling use of Volatile Organic Compounds (VOC).

B.	Waterproofing Applicator:

1.	Perform work in accordance with manufacturers written instructions and this specification.

2.	Maintain one copy of Waterproofing Manufacturers’ technical data sheets on site.

3.	At the beginning of the Work and at all times during the execution of the work, allow access to site by the Waterproofing Manufactures’ representative.

4.	Mock-Up: Where directed, construct typical assembly mock-up incorporating substrate, primer and waterproofing membrane system. Allow 24 hours for inspection of mock-up before proceeding. Mock-up may remain as part of the work.

C.	Vegetative Roof Assembly Installer

1.	Perform Work in accordance with manufacturers written instructions for the Vegetative Roof Assembly and this specification.

2.	At the beginning of the Work and until the 24 month establishment period has elapsed, allow access to site by the representatives of the vegetative roof assembly provider.

D.	Waterproofing components used in this section shall be produced and/or supplied by the Waterproofing Manufacturer including the primary membrane, primers, flashings and protection course.

E.	Ensure continuity of the waterproofing membrane throughout the scope of this section.

1.07	Delivery, Storage and Handling

A.	Delivery of Materials:

1.	Materials shall be delivered to the jobsite in undamaged and clearly marked containers indicating the name of manufacturer and product.

2.	Plant Materials shall be delivered to the jobsite on undamaged and clearly marked pallets including the plant list.

B.	Storage of Materials:

1.	Hot rubberized asphalt should be stored in closed containers and protected from the weather.

2.	Store primer at temperatures of 40 degrees F and above to facilitate handling. Keep solvent away from open flame or excessive heat.

3.	Store roll materials on end.

4. 	Protect growing media from water and freezing tempuratures.

5.	Plant materials must be protected and stored in the shade, covered with wet burlap or in refrigerated trucks and maintained at a cool temperature.

C.	Handling of Materials:

1.	Primer contains solvent and is flammable. Do not use near open flame.

2.	Melting equipment shall consist of an indirect fired kettle with a double shell containing a high flash point heat transfer oil and mechanical agitator.

3.	Avoid overheating of hot rubberized asphalt. Recommended application temperature is 356 degrees F to 395 degrees F. Do not heat above 419 degrees F.

4.	Plant material shall be un-loaded from shipping containers as soon as possible.  All plants or pots shall be watered as they arrive on site.

5.	Pallets shall be shrink-wrapped and secured prior to being lifted onto roof.

D.	Wasted Management and Disposal:

- Separate and recycle waste materials in accordance with Section [01355 - Waste Management and Disposal], and with the Waste Reduction Work Plan.

1.08	PROJECT/SITE CONDITIONS

- Environmental Requirements: No installation Work shall be performed during rainy or inclement weather and on frost or wet covered surfaces.

B.		Store rolls in heated location until needed on the roof.

C.	Minimum working temperatures shall take into consideration a factor for wind chill. Application temperature shall be considered to be the temperature minus half of the wind speed as recommended by the National Roofing Contractors Association (NRCA).

D.	Protection:

1.	Temporary protection of the installed membrane shall be provided to prevent mechanical damage or damage from spillage of oil or solvents until such time as permanent protection is provided;

2.	Do not permit traffic of any kind over unprotected waterproof membranes. Apply protection board or protection course as soon as possible after installation of membrane.

E.	Ensure substrate preparation work is complete prior to installing waterproofing membrane.

F.	Provide procedures for:

    - Ballasting insulation and other system components;

    - Protecting the finished waterproofing membrane system from physical damage;

    - Controlling access to the finished waterproofing membrane.

1.09	ALTERNATES

A. 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

B.	Alternate submission format to include:

1.	Submit evidence that alternate materials meet or exceed performance characteristics of product requirements and documentation from an approved independent testing laboratory certifying the performance of the waterproofing membrane system including drain composites and flashing sheets.

2.	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on an annual basis of similar scope and nature.

3.		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of water tightness throughout the building envelope.

C.	Submit requests for alternate to this specification a minimum of ten (10) working days prior to bid closing for evaluation.

D.	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to bid closing shall not be permitted for use on this project.

1.10     MANUFACTURER’S PROJECT ACCEPTANCE

A. 		Prior to contracting, the prime roofing/waterproofing contractor and vegetative roof assembly installer must receive a letter from the Membrane Manufacturer stating acceptance of the project specifications and the terms of the specified warranty.

1.11	PRECONSTRUCTION CONFERENCE

A.		The membrane manufacturers’ representative shall attend a meeting with necessary parties to review the project conditions as they relate to the placement of the waterproofing membrane assembly,

B.		Coordination of required flood testing or installation of electric field vector mapping system,

C.		Placement of insulation and temporary ballast,

D.		Coordination of the placement of vegetative roof components and plant materials, and

E.		Coordination of job site visits by membrane manufacture and verify status of warranty documents.

1.12	WATERPROOFING MEMBRANE WARRANTY

SPEC NOTE: There are three warranty configurations available from Henry. Choose 1.12.B, 1.12.C or 1.12.D from the following. Note that charges may apply to certain warranties and scope of coverage varies. Contact Henry for complete details.

A.	Contractor Warranty:

Waterproofing contractor warrants the waterproofing membrane system for leak coverage for two (2) years from date of substantial completion.

B.	Manufacturer’s Material Warranty

Waterproofing membrane manufacturer warrants the membrane for leak coverage as a result of defective materials for a period of 10 years from the date of substantial completion. The remedy is to provide replacement materials necessary to return the membrane to a watertight condition.

C.	Manufacturer’s System Warranty:

Waterproofing membrane manufacturer warrants the membrane and membrane flashings for leak coverage as a result of defective materials for a period of [5 years] [10 years] [15 years] [20 years] from the date of substantial completion. The remedy is to provide replacement materials and labor necessary to return the membrane to a watertight condition.

D.	Manufacturer's Single Source Gold Seal Warranty:

1.	Waterproofing membrane manufacturer warrants the membrane and membrane flashings for leak coverage as a result of defective materials or workmanship for a period of [5 years] [10 years] [15 years] [20 years] from the date of substantial completion. The remedy is to provide replacement materials and labor necessary to return the membrane to a watertight condition.

2.	Waterproofing membrane manufacturer component warranties:

- The insulation shall retain 80 percent of its thermal value for the duration of the insulation warranty.

- The pavers shall not, as a result of freeze-thaw, delaminate resulting in greater than 1-1/2% loss in dry weight.

- The vegetation shall have a two (2) year thrive coverage of minimum 50 percent thrive coverage at the end of the first year and minimum 80 percent thrive coverage at the end of the second year.

## Part 2: MATERIALS

  - MATERIALS

- Waterproofing membrane components and vegetative roof assembly must be supplied as a single-source from the waterproofing membrane manufacturer to ensure total system compatibility and integrity:

      - Waterproofing Manufacturer: 	Henry Company.

909 N Sepulveda Blvd, Suite 650

El Segundo, CA  90245

(800) 598 7663

Web Site: www.Henry.com

2.02	PRIMARY WATEPROOFING MEMBRANE (Basis-of-Design)

A.	Primary waterproofing membrane shall be 790-11EV minimum 25% post consumer recycled content [alternatively 790-11],  manufactured by Henry, an SBS modified hot applied rubberized asphalt composed of a specially selected blend of refined asphalts, synthetic rubber and mineral stabilizers and having the following physical properties:

1.	Solids Content: 100%;

2.	Low Temperature Flexibility and Adhesion: No cracking, delamination or loss of adhesion @ 13 degrees F in accordance with CGSB 37-GP-50-M89;

3.	Flow (1/8" film on 75% angle for 5 hours @ 140 degrees F): No flow in accordance with ASTM D1191;

4.	Cone Penetration: More than 10 @ 32 degrees F, less than 110 @ 77 degrees F, less than 200 @ 122 degrees F in accordance with ASTM D1191;

5.	Water Absorption: Gain of 0.09g in accordance with CGSB 37-GP-50-M89;

6.	Flash Point (Open Cup): 545 degrees F in accordance with ASTM D92;

7.	Water Vapor Permeance 3mm film (125 mils): 0.01 perms in accordance with ASTM E96 Procedure A and 0.02 perms in accordance with ASTM E96 Procedure E.

8.	Ratio of Toughness to Peak Load: 0.04 min. in accordance with CGSB 37-GP-50-M89.

9.	Toughness: 9.2J in accordance with CGSB 37-GP-50-M89.

10.	Crack Bridging Capability: No cracking, splitting or loss of adhesion in accordance with CGSB 37-GP-50-M89.

11.	Heat Stability (5 hours @ 390 degrees F): Meets flow, penetration and low temperature flexibility in accordance with CGSB 37-GP-50-M89.

B.	PrimerS

1.	Asphalt Primer:

a.	Primer conforming to ASTM D41 shall be Henry 910-01 Asphalt Primer.

2.	Polymer Modified Primer:

a.	Synthetic rubber based primer shall be 930-18 Polymer Modified Adhesive manufactured by Henry, which is compatible with the primary waterproofing membrane and membrane flashings.

C.	Fabric Reinforcement

1.	Polyfab Polyester Fabric reinforcement sheet as supplied by Henry, is a spun-bonded fabric with sufficient porosity to allow interply bonding between layers of waterproofing membrane.

D. 	Concealed Flashing, Crack Treatment AND Reinforcement Sheet Membranes

1.	Mop grade flashing and crack treatment membrane shall be modifiedPLUS( NP180s/s manufactured by Henry, an SBS modified bitumen membrane having a minimum thickness of 90 mils and a non-woven polyester reinforcement of 180 g/m2 meeting CGSB-37-GP-56M Type 2 Class C Grade 2.  The upper and lower surface shall be sanded and be fully compatible with the primary membrane.

2.		Torch grade flashing and crack treatment membrane shall be modifiedPLUS( NP180p/p manufactured by Henry, an SBS modified bitumen membrane having a minimum thickness of 120 mils and a non-woven polyester reinforcement of 180 g/m2 meeting ASTM D6164 Type 1 Grade S.  The upper and lower surface shall a polyethylene film and be fully compatible with the primary membrane.

3.	Self-Adhering waterproofing transition membrane for vertical curbs and wall upturns shall be Blueskin( WP 200 manufactured by Henry, a 60 mil minimum thick SBS modified bitumen, self-adhered sheet membrane with a cross-laminated polyethylene film, and a tensile film strength of 34.5 MPA to ASTM D882 and an elongation of 300% to ASTM D412.

4.	Expansion joint membrane shall be Neoflash Uncured Neoprene Flashing Sheet having a min. thickness of 60 mils and Neoflash Adhesive manufactured by Henry.

E.	Protection Course

1.	Protection course membrane shall be modifiedPLUS( G100s/s manufactured by Henry, an SBS modified bitumen membrane having a minimum thickness of 80 mils and a fiber glass reinforcement of 100 g/m2 meeting CGSB-37-GP-56M Type 2 Class C Grade 1.  The upper and lower surface shall be sanded and be fully compatible with the primary membrane.

F.	Cap Flashing Membranes

1.	Granulated cap sheet for exposed cap flashing membranes shall be modifiedPLUS( NP180gM4 manufactured by Henry, an SBS modified bitumen membrane having a polyethylene lower surface and a ceramic granule top surface, reinforced with a non-woven polyester reinforcement, designed specifically for hot mop applications and having the following physical properties in accordance with ASTM D5147:

a.	Thickness: 0.140 inches 140 mils;

b.	Tensile strength @ 0 degrees F: 113 lbf/inch (md), 100 lbf/inch (xd);

c.	Elongation @ 0 degrees F: 40% (md & xd);

d.	Low temperature flexibility: -15 degrees F;

G.	Termination Sealant

1.	Termination Sealant shall be HE925 BES Sealant manufactured by Henry; a moisture cure, medium modulus polymer modified sealing compound having the following physical properties:

a.	Compatible with waterproofing membranes and substrate;

b.	Complies with Fed. Spec. TT-S-00230C, Type II, Class A;

c.	Complies with ASTM C 920, Type S, Grade NS, Class 25

d.	Elongation: 450 – 550%

e.	Remains flexible with aging

f.	Seals construction joints up to 1 inch wide.

- TERMINATION Bars

      - Termination bars shall be 1/8 inch x 1 inch aluminium, stainless steel or galvanized metal and shall be pre-drilled at a maximum of 8 inch o/c for non-corrosive screw attachment.

SPEC NOTE: WATERPROOFING MEMBRANE INTEGRITY TEST. As a requirement for meeting warranty conditions, the waterproofing membrane must be tested for leaks.  The completed waterproofing system may be tested by either flood testing the area or Electric Field Vector Mapping.

2.03	ELECTRIC FIELD VECTOR MAPPING QUALITY ASSURANCE COMPONENTS (Optional alternative to Flood Testing)

A.		Provide electrical wiring, and other components necessary for a testing agency to perform integrity testing of waterproofing membrane.

2.04	ROOT BARRIER (Basis-of-Design)

A.	Root barrier shall be Root Bloc 20 supplied by Henry, a 15 mil polyethylene composite geo-membrane sheet specially designed to prevent root penetration.

2.05	Extruded Polystyrene Insulation

A.	Meeting ASTM C578-87a, Type [XX], to thickness indicated on drawings and having the following properties:

1.	Minimum water absorption by volume per ASTM C-272 of 0.1%

2.	Minimum compressive strength to ASTM C-1621 shall be [40], [60] or [100] psi.

SPEC NOTE:  As an alternate to the basis of design material below, DBR 50 and DBR 100 are also available.  These products have the top fabric treated with copper hydroxide that acts as a root barrier.  These products have similar water retention properties, but different flow rates due to the treated fabric.  Reference the Technical Data Sheet for the specific physical properties.

2.06     WATER RETENTION & DRAINAGE COMPOSITE (Basis-of-Design)

A.         A Landscape Professional shall determine performance requirements of water retention & drainage composite based on growing media and vegetation type:

1.         Water Retention & Drainage Composite for vegetative roof assemblies shall be DB100 and shall consist of a high-strength, dimpled polymeric sheet with to the top and bottom core layers.  The top geotextile fabric to be made of needle punched, non-woven polypropylene fabric with a flow fate of 80 pgm/ft2 3260 (Lpm/m2).  The core shall be made of dimpled polystyrene having a compressive strength of 9000 lbs/ft2 (431kN/m2, a water storage capacity of 0.11 gal/ft2 (4.5 L/m2) and a flow rate of 21 gal/ft2 (260Lpm/m2). The bottom geotextile fabric to be made of polypropylene, needle-punched, nonwoven weighing 4 oz/ft2 (136 gm/m2).

2.	Low Water Storage Capacity Water Retention & Drainage Composite for vegetative roof assemblies shall be DB50, and shall consist of a high-strength, dimpled polymeric sheet with top and bottom core layers.   The top geotextile fabric to be made of polypropylene fabric with a flow rate of 80 gpm/ft2 (3200 Lpm/m2).  The core shall be made of dimpled polystyrene having a compressive strength of 15,000 lbs/ft2 (718 kN/m2), a water storage capacity of 0.06 gal/ft2 (2.4 L/m2), and a horizontal flow rate of 6 gpm/ft2 (200Lpm/m2).  The bottom geotextile fabric to be made of polypropylene, needle-punched, nonwoven weighing 4 oz/ft2 (136 gm/m2).

SPEC NOTE: As an option, when additional moisture retention is desired, Moisture Retention Fabric can be installed above the Water Retention & Drainage Composite.  This is particularly helpful for hot, dry climates in zones 1-3, and where thinner growing media depths are desired.

- MOISTURE RETINTION FABRIC

1.	Moisture Retention Fabric shall be 100% post consumer recycled polyester, supplied by Henry, a high quality rewettable polyester with moisture retention of 0.12 gal/ft2

C.	Geotextile Filter Fabric

1.	Filter fabric assemblies shall be geotextile Filter Fabric NO 4 supplied by Henry, a non-biodegradable non-woven goetextile made of polypropylene fibers, resistant to most soil chemicals and alkali with a pH range of 3 to 12.

2.07	BALLAST AND PAVERS

A.	Ballast shall be crushed stone ballast (washed, crushed or rounded), ½ inch -1 ½ inches in diameter at not less than 1200 pounds per 100 square feet, or as indicated by insulation manufacturer or project specification.

B.	Precast Pavers as pre-approved by Henry and as selected by Architect.

C.	Pedestal supports for pavers shall be in accordance with the paver manufacturers’ recommendations.

2.08	VEGETATIVE ROOF GROWING MEDIA AND VEGATATION (Basis-of-Design)

SPEC NOTE: The design of the growing media shall consist of a mixture of mineral and organic soil and will range from 6.5lbs/ft2/in. to 8lbs/ft2/in when fully saturated.  The soil is a vital part in any vegetative roof assembly and shall also provide a dead load function as anchorage to the roof system, provide a source of nutrients, have good porosity, high water retention and insulation ballast weight.  A large number of light weight growing media blends are commercially available and it is recommended that a local landscape expert be consulted in the design process.  CALL HENRY FOR FLL GROWING MEDIA BLEND OPTIONS.

A.	Growing MediA

1.	Design and blend growing media appropriate to meet vegetative roof assembly and plant material growth.

2.	Growing media to be supplied by The Henry Company.

- Vegetation

1.	Vegetation [plants, shrubs, trees] shall be selected by landscape professional.

2.		Refer to Section [XXXXX] for specific species of vegetation.

3.		Vegetation to be supplied by the Henry Company.

2.09	ACCESSORIES

A.	DRAIN INSPECTION CHAMBER WITH COVER

1.		VRA Drain Inspection Chambers to be supplied by the Henry Company.

- METAL EDGING

1.	VRA Metal Edging to be supplied by the Henry Company.

## Part 3: EXECUTION

3.01	EXAMINATION

A.	Acceptable substrates are cast-in-place and precast concrete and plywood. Metal pan decks to which concrete is poured must be venting type.

B.	Lightweight concrete is an acceptable substrate provided:

1.	The compressive strength of the concrete topping is minimum 2500 psi at 28 days.

2.     	The density of the concrete topping is minimum 115 pcf

3.	The deck is vented from the underside to facilitate drying.  For composite steel deck construction, allow concrete to cure sixty (60) days.

4.	A cure period of minimum twenty-eight (28) days is required prior to application of the membrane system, except as described above for composite decks.

5. 	The membrane is applied in a two-coat fabric reinforced system. Pin-holing of the membrane is expected to occur in the first coat over lightweight structural concrete.

C.	Verify that surfaces and conditions are ready to accept the work of this section. Commencement of the work or any parts thereof shall mean acceptance of the substrate.

3.02	PREPARATION

A.	All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar, frost or other contaminants. Fill spalled areas in substrate to provide an even plane and remove scaling or latent concrete. Remove curing compounds or any foreign matter detrimental to the adhesion of the primary waterproofing membrane or membrane flashings.

B.	New concrete should be cured for a minimum of fourteen (14) days and must be dry before waterproofing membranes are applied. Concrete in vented metal pan decks must be cured a minimum of sixty (60) days.

C.	Concrete shall have a wood float finish. Steel float finishes are too smooth and compromise the adhesion of the waterproofing system. Decks with a steel float finish must be sandblasted or equivalent prior to the application of the waterproofing system.

D.	Prefabricated expansion joint assemblies should be in place prior to the application of the primary waterproofing assembly.

E.		Substrate Preparation for Plywood & Gypsum Sheathing

1.		Secure sheathing mechanically with self-tapping, non-corroding screws and 3 inches diameter metal plates spaced a maximum of 24 inches in either direction and to only the top flanges of the metal deck.

2.		Lay sheathing with tightly butted joints at right angles to flute direction.  Joints occurring along the widths of the sheathing must be continuously supported on a top flange of the metal deck.

3.		Check tightness of joints and flatness of wood decking prior to proceeding with application of membrane.  Ensure sheathing is continuously supported on framing.

4.		The joints between boards of plywood decks shall be taped with a self-adhered crack treatment membrane prior to the application of protection sheet.  Loose lay mop grade protection sheet over plywood sheathing and back nail; provide 6 inches end laps and 2 1/2 inches side laps.   Stagger end laps.

5.		The contractor shall review all surfaces to receive the membrane and report any discrepancies prior to installing the waterproofing system.

3.03	 INSTALLATION OF WATERPROOFING MEMBRANE

A.	Primer

1.	Apply primer as recommended by manufacturer and allow drying prior to the application of the primary waterproofing membrane or membrane flashings.

B.	Joint Treatment for Precast Concrete Deck

1.	Reinforcement along length and width of units with a strip of 12 inches wide Polyester Fabric set in an 18 inch wide, 1/8 inch thick coat of membrane.

C.	Deck to Vertical Junctures

1.	Apply hot rubberized asphalt membrane to provide a thickness of approximately 1/8 inch to the vertical faces and a minimum of 4 inches out onto the horizontal surface.

2.	Embed flashing sheet in the hot rubberized asphalt membrane, avoiding any wrinkles or fish mouths, extending a minimum of 3 inches out onto the horizontal surface.

3.	Mechanically attach the flashing sheet to vertical surfaces with metal securement bar where height of flashing exceeds 12 inches. Lap flashing sheet minimum 3 inches on ends.

4.	At monolithic pour, use fabric reinforcement as option to flashing sheet.

D.	Expansion Joints (Neoprene)

- Expansion joint membrane can be applied in a bed of primary waterproofing membrane or adhered to substrate with expansion joint adhesive. Place expansion joint membrane into expansion joint adhesive as recommended by manufacturers’ written instructions.

- Loop expansion joint membrane down into expansion joint, embedded into a 1/8 inch thick layer of hot rubberized asphalt membrane. Ensure that the depth of loop is a minimum 1-1/2 inch.

- Extend expansion joint membrane minimum of 3 inch on each side of joint. Seal end joints a minimum of 6 inch and seal with a 1/8 inch coat of membrane. Fill loop with membrane as required.

- Secure top of expansion joint membrane with continuous fixing bar at vertical wall locations.

E.	Crack Treatment

1.	Seal cracks and joints 1/16 inch to 1/8 inch in width with a 12 inch wide, 1/8 inch thick coat of hot rubberized asphalt membrane and a 6 inch wide strip of Polyester Fabric, centered over joint.

2.	Seal cracks and joints 1/8 inch to 1/4 inch in width with a 12 inch wide, 1/8 inch thick coat of hot rubberized asphalt membrane and a 6 inch wide strip of crack treatment or expansion joint membrane, centered over joint.

F.	Membrane Flashing At Drains

1.	Coat areas around the drains with hot rubberized asphalt membrane at a thickness of 1/8 inch.

- Place flashing sheet over the coated drain flange and extending a minimum 6 inches around the flange.

3.	Apply a second coat of hot rubberized asphalt membrane over the flashing sheet at a thickness of 1/8 inch.

4.	Apply clamping ring exerting sufficient pressure to affect a seal between clamping ring and membrane. Temporarily block all drains during the application of ballast, or other materials that might block the drains. Remove blocking when work is not in progress and upon completion.

G.	Membrane Flashing At Protrusions

1.	At mechanical vent, protrusions and pipe penetrations provide flashing sheet set into 1/8 inch layer of hot rubberized asphalt membrane. Overcoat and seal with membrane. Install clamps and seal leading edge with terminations sealant.

2.	At pitch pockets, place pan on top of a 1/8 inch layer of membrane and attach into roof deck. Set flashing sheet into 1/8 inch hot rubberized asphalt membrane over top of flange. Fill pitch pocket with rubberized asphalt or rubber asphalt sealer in order to shed water.

H.		Non-Exposed Membrane Flashing At Vertical Junctures (Self-Adhering Membrane):

1.	Apply self-adhering waterproofing membrane to prepared substrate in lengths of 6 feet or less.

2.	Horizontal to vertical inside corner transition areas are to be pre-treated with a fillet bead of termination sealant extending ¾ inch vertically and horizontally from the corner. Apply a minimum 10 inch wide strip of waterproofing membrane centred at the joint.

3.	All outside corners are to be pre-treated with a minimum 10 inch strip of waterproofing membrane centred at the joint.

4.	Where three or more planes come into contact reinforce with cut sections of waterproofing membrane reinforcing sheet as per manufacturer’s instructions.

5.	Provide 2-1/2 inch laps at both sides and ends.  Position for alignment and remove protective film. Press firmly into place. Promptly roll all laps with a counter top roller to affect seal. If more than one length is required on a vertical surface, apply in a shingle

6.	Terminate membrane using termination sealant and counter flashing as indicated.

7.	All laps within 12 inches of a 90 degree change in plane are to be sealed with termination sealant.

I.	Application of Hot Rubberized Asphalt Membrane:

1.	Ensure deck is ready to receive hot applied rubberized asphalt membrane.  Where torch applied flashing membranes have been used, ensure top polyfilm has been scorched away prior to application of the membrane.

2.	Apply membrane smooth, free from air pockets, wrinkles, or tears and to manufacturer's Instructions.  Ensure full bond of membrane to substrate.

3.	Apply first layer of hot rubberized asphalt membrane evenly to a minimum thickness of 90 mils to form a continuous monolithic coating over horizontal and vertical surfaces including previously reinforced areas.

4.	Apply Polyfab Polyester Fabric reinforcing sheet and firmly press into first layer of hot membrane.  Overlap fabric approximately ¼ inch ensuring that a layer of membrane is present between overlaps.  Apply second layer of membrane over the fabric to a minimum thickness of 1/8 inches (125 mils) providing a total thickness of 215 mils.

J.	Installation of Protection Course

1.	Protection course shall be rolled onto hot applied rubberized asphalt membrane while still warm and tacky.

2.	Lap protection course 2 inches on side laps and 6 inches on end laps.

3.	Starting at the low points or drains lay the protection course membrane in full continuous sheets in a shingle pattern. Stager all end laps.

4.	Assure the all other trades and foot traffic remain off completed membrane until after completion of flood test or EFVM testing.

SPEC NOTE: WATERPROOFING MEMBRANE INTEGRITY TEST. As a requirement for meeting warranty conditions, the waterproofing membrane must be tested for leaks.  The completed waterproofing system may be tested by either flood testing the area or Electric Field Vector Mapping.

3.04	FLOOD TEST

A.		Contractor shall flood test the system upon the completion of horizontal 2 ply reinforced waterproofing membrane applications in accordance with ASTM D 5957.

B.		Provide temporary stops and plugs for the roof drains within the test area.

C.		Flood test with minimum 2 inches of water for 24 to 48 hours.

D.		In the event of a breach of the membrane, repair and retest the system for no less than 24 hours,

E.		Report results of testing to the Consultant & Henry Technical Representative. Remove temporary stops and plugs.

F.		No other Work is to proceed with out prior direction from the Consultant.

3.05	Electric Field Vector Mapping (EFVM) (Alternate to Flood Test)

A.	EFVM to be completed in conjunction with the completion of waterproofing and prior to placement of root barrier or any other overburden.

B.		International Leak Detection, or pre-approved test provider will need to be contacted several weeks in advance to coordinate schedule.

C.		In the event of a breach of the membrane, repair and retest the system for no less than 24 hours,

D.		Report results of testing to the Consultant & Henry Technical Representative. Remove temporary stops and plugs.

E.		No other Work is to proceed with out prior direction from the Consultant.

3.06	INSTALLATION OF ROOT BARRIER

A.		Install Root Barrier membrane as directed by landscape professional:

1.	The root barrier sheet shall be lapped 24 inches and seal with ½” bead of specified termination sealant.

2.	Root barrier sheet must extend up vertical surfaces to the upper level of the growing medium and protect the waterproofing membrane.

3.	Provide temporary ballasting over root barrier membrane where required until permanent covering material is installed.

3.07	Installation of Insulation

1.		Install insulation loose over the protection course/secondary root barrier, firmly butting each insulation board to surrounding board.

2.		The end joints of the insulation shall be staggered, use full size pieces where possible.

3.		The insulation shall be cut to fit closely to protrusion and obstructions.

4.		Do not lay more insulation than be covered within the same working day.

3.08	Installation of Water Retention & Drainage COMPOSITE and Filter Fabric

A.		Install Water Retention & Drainage Composite over insulation as indicated on the drawings.

1.	Overlap core flange with core flange of adjacent sheet a minimum of 1 inch.  Overlap top layer of filter fabrics a minimum of 2 ½ inches.

2.	Cut core and fabric to fit tightly around penetrations.

3.	Extend Root Barrier & Water Retention/Drainage Composite up vertical flashing to the intended finish grade of the growing medium.

SPEC NOTE: As an option, when additional moisture retention is desired, Moisture Retention Fabric can be installed above the Water Retention & Drainage Composite.  This is particularly helpful for hot, dry climates in zones 1-3, and where thinner growing media depths are desired.

B. 		Installation of Moisture Retention Fabric over Water Retention & Drainage Composite:

1.	Install fabric over the Water Retention & Drainage Composite and as indicated on drawings.  Overlap edges a minimum 6 inches.  Do not use lengths of less than 6 feet.

2.	Cover immediately with Filter Fabric.

C. 	Installation of Filter Fabric:

1.	Install fabric over the Water Retention & Drainage Composite and as indicated on drawings.  Overlap edges a minimum 6 inches.  Do not use lengths of less than 6 feet.

2.	Install, fit and secure filter fabric to prevent growing media from moving passing through, around or over to the surfaces below.

3.	Fit sections of filter fabric at penetrations and roof drains, cut to surround the penetration or drain and extend up vertically to the intended finish grade of the growing medium.  Slit fabric to fit tightly over penetrations, cut out around roof drains and other openings.

4.	Extend fabric up perimeter and vertical surfaces to the intended finish grade of the growing medium and wrap around top edge of the Water Retention & Drainage Composite where required or as indicated on drawings.

5.	Provide temporary ballasting over Filter Fabric as required preventing displacement until permanent covering material installed.

3.09	Installation of Growing Media, Plant Material and Vegetation Free Zones

A.		The contractor shall review the placement of Water Retention/Drainage Composite and filter fabric and report any discrepancies prior to the placement of growing media.

B.		Supply and install specified growing media and plant materials as selected and detailed on plant list as per mix design and depths specified.

C.		Installation of media shall be carried out in such a way as to not damage filter fabric and Water Retention & Drainage Composite.

D.		Supply and install vegetation as per drawings and specifications and in accordance with the landscape professional instruction and standard good practices.

E.		Co-ordinate and schedule placement of curbs details for vegetation free zones around perimeter edges as indicated on drawings.

3.10	Installation of Gravel Ballast & Concrete Pavers

A.	Installation of gravel ballast & concrete pavers to be completed after placement of curbs details as indicated on drawings.

B.		Spread gravel ballast uniformly over the installed filter fabric according to insulation manufacturer's recommendations.

C.		Place concrete pavers, where indicated, on pedestals, accurately aligned, and leveled with upper surface of pavers in plane with adjacent units.  Cut pavers to fit irregularly shaped areas and around protrusions.  Install according to manufacturer's instructions.

3.11	FIELD QUALITY CONTROL

A.	Final Inspection and Approval:

- Final inspection of completed work shall be carried out by the owner's representative, the contractor and Henry.

B.	Continued Maintenance Program

1.	Prime waterproofing installer will be responsible to ensure vegetation is sufficiently watered post installation to assure full plant establishment.

3.12	CLEAN-UP

A.	Promptly as the work proceeds and on completion, clean up and remove from the premises 			all rubbish and surplus materials resulting from the foregoing work.

- Clean to the consultant's approval, soiled surfaces, spatters, and damage caused by work of this Section.

C.	Check area drains to ensure cleanliness and proper function, and remove debris, equipment and excess material from the site.

END OF SECTION